{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":6,"rows_kept":12,"merged":[[0,0,0,5],[7,0,8,0],[7,1,8,1]]}
["开平市中心医院医气、呼叫系统重要部件一览表"]
["科室","位置","名称","厂家品牌","型号","数量"]
["新生儿科","新生儿科","无油空压机","广州巨无霸机电科技",2570,1]
["口腔科","口腔科","无油空气压缩机","台州奥突斯工贸","OTS-1100X4",2]
["ICU科","住院楼天台东侧空压站","冷冻式压缩空气干燥机","佛山企鹅机电工程设备","P-10A",1]
[null,null,"无油空气压缩机","浙江藤井空压机","JB 1100WX3",1]
["手术室","住院楼天台西侧空压站","无油机","浙江永源机电制造","EWS120",1]
["住院楼","住院楼天台西侧负压站","水环式真空泵","广州恒泽真空设备","2BV5110-DB",2]
[null,null,"压差真空阀","广州恒泽真空设备","DDC-50",2]
["余锦炯楼","余锦炯楼负压站","超高效率三相异步电动机","淄博盖特电机制造","YE3-132M-4",2]
["感染科","综合楼5楼负压站","负压真空发生装置","淄博博山圣泽工业","2BV5110",1]
["各科室","各科室办公室","传呼对讲系统","深圳鑫德亮电子","BEY-2000G"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}