{"text_format":"3","workbook":"xlsx","n_sheets":14,"sheets":["扉页","建设工程投标报价汇总表","【开平市长沙街道办事处社区卫生服...】单位工程汇总表","【...】分部分项工程和单价措施项目清单与计价表(格式","【开平市长沙街道办事处...】总价措施项目清单与计价表","【开平市长沙街道办事处...】其他项目清单与计价汇总表","【开平市长沙街道办事处社区...】规费、税金项目计价表","【...】承包人提供主要材料和工程设备一览表(适用于信","【开平市长沙街道办事处社区卫生服...】单位工程汇总表(1)","【...】分部分项工程和单价措施项目清单与计价表(格式(1)","【开平市长沙街道办事处...】总价措施项目清单与计价表(1)","【开平市长沙街道办事处...】其他项目清单与计价汇总表(1)","【开平市长沙街道办事处社区...】规费、税金项目计价表(1)","【...】承包人提供主要材料和工程设备一览表(适用于信(1)"],"read":"whole","date_system":"1900"}

{"sheet":"扉页","index":0,"n_rows":10,"n_cols":8,"rows_kept":10,"merged":[[0,1,0,6],[0,7,0,8],[1,1,1,6],[1,7,1,8],[2,0,2,8],[3,0,3,1],[3,2,3,3],[3,6,3,8],[4,0,4,1],[4,2,4,3],[4,6,4,8],[5,0,5,1],[5,2,5,3],[5,6,5,8],[6,0,6,1],[6,2,6,3],[6,6,6,8],[7,0,7,1],[7,2,7,3],[7,6,7,8],[8,0,8,1],[8,2,8,3],[8,6,8,8],[9,0,9,1],[9,2,9,3],[9,6,9,8]]}
["","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修",{"$nulls":5},"工程"]
["","",{"$nulls":5},""]
["招 标 工 程 量 清 单"]
["招  标  人:",null,"",null,"","造价咨询人:",""]
["",null,"（单位盖章）",null,"","","（单位盖章）"]
["法定代表人或\n其授权人:",null,"",null,"","法定代表人或\n其授权人:",""]
["",null,"（签字或盖章）",null,"","","（签字或盖章）"]
["编  制  人:",null,"",null,"","复  核  人:",""]
["",null,"（造价人员签字盖专用章）",null,"","","（造价工程师签字盖专用章）"]
["编 制 时 间:",null,"",null,"","复 核 时 间:",""]

{"sheet":"建设工程投标报价汇总表","index":1,"n_rows":11,"n_cols":7,"rows_kept":11,"merged":[[0,0,0,6],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,2,6],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,0,10,6]]}
["建设工程投标报价汇总表"]
["项目名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程",null,null,"第1页, 共1页"]
["序号","单位工程名称",null,"金额(元)","其中：（元）"]
[{"$nulls":4},"暂估价",null,"绿色施工安全防护措施费"]
["","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程",null,"","",null,""]
["一","单项工程",null,"","",null,""]
["1","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",null,"","",null,1150.42]
["2","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",null,"","",null,756.17]
["","小计",null,"","",null,{"$f":"G7+G8","v":1906.59}]
["","合    计",null,"","",null,""]
["注：本表适用于工程项目招标控制价的汇总；暂估价包括分部分项工程中的暂估价和专业工程暂估价。"]

{"sheet":"【开平市长沙街道办事处社区卫生服...】单位工程汇总表","index":2,"n_rows":24,"n_cols":6,"rows_kept":24,"merged":[[0,0,0,5],[1,1,1,3],[2,0,2,1],[2,3,2,4],[3,0,3,1],[3,3,3,4],[4,0,4,1],[4,3,4,4],[5,0,5,1],[5,3,5,4],[6,0,6,1],[6,3,6,4],[7,0,7,1],[7,3,7,4],[8,0,8,1],[8,3,8,4],[9,0,9,1],[9,3,9,4],[10,0,10,1],[10,3,10,4],[11,0,11,1],[11,3,11,4],[12,0,12,1],[12,3,12,4],[13,0,13,1],[13,3,13,4],[14,0,14,1],[14,3,14,4],[15,0,15,1],[15,3,15,4],[16,0,16,1],[16,3,16,4],[17,0,17,1],[17,3,17,4],[18,0,18,1],[18,3,18,4],[19,0,19,1],[19,3,19,4],[20,0,20,1],[20,3,20,4],[21,0,21,1],[21,3,21,4],[22,0,22,1],[22,3,22,4],[23,0,23,2],[23,3,23,4]]}
["单位工程投标报价汇总表"]
["工程名称:","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",null,null,"标段：","第1页, 共1页"]
["序号",null,"汇总内容","金额(元)",null,"其中：暂估价(元)"]
["1",null,"分部分项工程费","",null,""]
["2",null,"措施项目费","",null,""]
["2.1",null,"绿色施工安全防护措施费",1150.42,null,""]
["2.2",null,"其他措施项目费","",null,""]
["3",null,"其他项目费","",null,""]
["3.1",null,"暂列金额","",null,""]
["3.2",null,"暂估价","",null,""]
["3.3",null,"计日工","",null,""]
["3.4",null,"总承包服务费","",null,""]
["3.5",null,"索赔费用","",null,""]
["3.6",null,"现场签证费用","",null,""]
["3.7",null,"预算包干费","",null,""]
["3.8",null,"工程优质费","",null,""]
["3.9",null,"消纳费","",null,""]
["3.10",null,"其他费用","",null,""]
["4",null,"规费","",null,""]
["5",null,"税前工程造价","",null,""]
["6",null,"增值税销项税额","",null,""]
["7",null,"工程造价","",null,""]
["8",null,"其中：人工费","",null,""]
["投标报价合计",null,null,"",null,""]

{"sheet":"【...】分部分项工程和单价措施项目清单与计价表(格式","index":3,"n_rows":69,"n_cols":11,"rows_kept":69,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,8],[3,9,4,9],[5,1,5,2],[5,7,5,8],[6,1,6,2],[6,7,6,8],[7,1,7,2],[7,7,7,8],[8,1,8,2],[8,7,8,8],[9,1,9,2],[9,7,9,8],[10,1,10,2],[10,7,10,8],[11,1,11,2],[11,7,11,8],[12,1,12,2],[12,7,12,8],[13,0,13,8],[14,0,14,10],[15,0,15,1],[15,2,15,7],[15,8,15,10],[16,0,18,0],[16,1,18,2],[16,3,18,3],[16,4,18,4],[16,5,18,5],[16,6,18,6],[16,7,16,10],[17,7,18,8],[17,9,18,9],[19,1,19,2],[19,7,19,8],[20,1,20,2],[20,7,20,8],[21,1,21,2],[21,7,21,8],[22,1,22,2],[22,7,22,8],[23,1,23,2],[23,7,23,8],[24,1,24,2],[24,7,24,8],[25,1,25,2],[25,7,25,8],[26,1,26,2],[26,7,26,8],[27,1,27,2],[27,7,27,8],[28,0,28,8],[29,0,29,10],[30,0,30,1],[30,2,30,7],[30,8,30,10],[31,0,33,0],[31,1,33,2],[31,3,33,3],[31,4,33,4],[31,5,33,5],[31,6,33,6],[31,7,31,10],[32,7,33,8],[32,9,33,9],[34,1,34,2],[34,7,34,8],[35,1,35,2],[35,7,35,8],[36,1,36,2],[36,7,36,8],[37,1,37,2],[37,7,37,8],[38,1,38,2],[38,7,38,8],[39,1,39,2],[39,7,39,8],[40,1,40,2],[40,7,40,8],[41,1,41,2],[41,7,41,8],[42,1,42,2],[42,7,42,8],[43,1,43,2],[43,7,43,8],[44,1,44,2],[44,7,44,8],[45,1,45,2],[45,7,45,8],[46,1,46,2],[46,7,46,8],[47,1,47,2],[47,7,47,8],[48,1,48,2],[48,7,48,8],[49,1,49,2],[49,7,49,8],[50,1,50,2],[50,7,50,8],[51,1,51,2],[51,7,51,8],[52,1,52,2],[52,7,52,8],[53,1,53,2],[53,7,53,8],[54,0,54,8],[55,0,55,10],[56,0,56,1],[56,2,56,7],[56,8,56,10],[57,0,59,0],[57,1,59,2],[57,3,59,3],[57,4,59,4],[57,5,59,5],[57,6,59,6],[57,7,57,10],[58,7,59,8],[58,9,59,9],[60,1,60,2],[60,7,60,8],[61,1,61,2],[61,7,61,8],[62,1,62,2],[62,7,62,8],[63,1,63,2],[63,7,63,8],[64,1,64,2],[64,7,64,8],[65,1,65,2],[65,7,65,8],[66,1,66,2],[66,7,66,8],[67,0,67,8],[68,0,68,8]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":5},"第1页, 共4页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["1","011502007001",null,"顶部安装PVC广告装饰线","1、PVC装饰线条","m","60.00","",null,"",""]
["2","011609002001",null,"拆除及清运三楼木框架间墙","1、隔断隔墙拆除 木龙骨 其他装饰面\n2、拆除废料外运 人工装自卸汽车运 3km内","m2","33.00","",null,"",""]
["3","011601001001",null,"拆除及清运三楼砖体墙体","1、墙体拆除 砖砌墙体 实心砖墙\n2、拆除废料外运 人工装自卸汽车运 3km内","m3","1.08","",null,"",""]
["4","011601001002",null,"砖砌体开孔打洞","1、开孔打洞(0.1-0.3m2) 高1.5m外(工作面) 砖砌体","个","2","",null,"",""]
["5","011207001001",null,"安全指示牌安装","1、安全指示牌安装","项","1","",null,"",""]
["6","011302001001",null,"可耐福防潮石膏板天花","1、装配式U型轻钢天棚龙骨(不上人型) 面层规格(mm) 450×450 平面\n2、天棚面层 石膏板面层 安在U型轻钢龙骨上\n3、可耐福防潮石膏板","m2","40.00","",null,"",""]
["7","010810001001",null,"窗帘遮光布加静音轨道，做花边","1、成品窗帘安装 装饰布帘\n2、暗装式铝合金窗帘轨 单轨","m2","30.00","",null,"",""]
["8","011406001001",null,"抹灰面油漆","1、成品腻子粉(耐水型)N型 天棚面 满刮1遍\n2、抹灰面乳胶漆 天棚面 面漆一遍","m2","133.00","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":5},"第2页, 共4页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["9","011406001002",null,"抹灰面油漆","1、成品腻子粉(一般型)Y型 墙面 满刮一遍\n2、抹灰面乳胶漆 墙柱面 面漆一遍","m2","184.00","",null,"",""]
["10","011101005001",null,"自流坪楼地面","1、楼地面水泥砂浆找平层 混凝土或硬基层上 20mm\n2、环氧自流平地面 厚度0.2+1+1mm 平地面","m2","40.00","",null,"",""]
["11","031004006001",null,"石水台安装","1、无障碍厕所，石水台安装","项","1","",null,"",""]
["12","011505001001",null,"麻石水台","1、洗漱台(洗手台) 石板材","m2","5.00","",null,"",""]
["13","010801001001",null,"中药房间门（1000×2000mm，韩版碳晶木门，双层色面板，中间木料填充）","1、成品套装门安装\n2、中药房间门（1000×2000mm，韩版碳晶木门，双层色面板，中间木料填充）","扇","1.000","",null,"",""]
["14","011601001003",null,"开门洞及修复","1、墙体开门窗洞口 180墙\n2、底层抹灰15mm 零星项目\n3、抹灰面乳胶漆 墙柱面 面漆一遍","m2","3.00","",null,"",""]
["15","011601001004",null,"开窗口","1、开窗口","项","1","",null,"",""]
["16","011601001005",null,"做窗口不锈钢框加玻璃加人造窗台石","1、做窗口不锈钢框加玻璃加人造窗台石","项","1","",null,"",""]
["17","011208001001",null,"柱(梁)面装饰","1、包圆柱(包龙骨、基层) 木龙骨胶合板基层 饰面夹板","m2","15.00","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":5},"第3页, 共4页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["","",null,"","2、生态板","","","",null,"",""]
["18","011207001002",null,"墙身护墙碳晶墙板安装","1、墙面成品木饰面面层安装 直形\n2、墙身护墙碳晶墙板","m2","90.00","",null,"",""]
["","",null,"分部分项小计","","","","",null,"",""]
["","",null,"措施项目","","","","",null,"",""]
["","AQFHWMSG",null,"绿色施工安全防护措施费","","","","",null,"",""]
["","AZMJSCSF",null,"按子目计算的绿色施工安全防护措施费","","","","",null,"",""]
["","JSJ",null,"综合脚手架","","","","",null,"",""]
["","MMSAQW",null,"密目式安全网","","","","",null,"",""]
["19","粤011701013001",null,"靠脚手架安全板","","m2","1.000","",null,"",""]
["20","MBZC001",null,"模板的支架","","t","1.000","",null,"",""]
["21","SGWDZM001",null,"施工围档照明","","项","1.000","",null,"",""]
["22","LSGGJTD001",null,"临时钢管架通道","","项","1.000","",null,"",""]
["23","粤011701014001",null,"独立安全挡板","","m2","1.000","",null,"",""]
["24","DZSBJC001",null,"吊装设备基础","","项","1.000","",null,"",""]
["25","FCJZLSSGFHP001",null,"防尘降噪绿色施工防护棚","","m2","1.000","",null,"",""]
["26","SGBD001",null,"施工便道","","m","1.000","",null,"",""]
["27","YBYL001",null,"样板引路","","项","1.000","",null,"",""]
["","QTCSF",null,"其他措施项目费","","","","",null,"",""]
["","HNTMBJZJ",null,"混凝土模板及支架(撑)","","","","",null,"",""]
["","CZYS",null,"垂直运输","","","","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":5},"第4页, 共4页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["","SGPSJS",null,"施工排水、降水","","","","",null,"",""]
["28","011707004001",null,"二次搬运","","项","1.000","",null,"",""]
["29","011707005001",null,"冬雨季施工","","项","1.000","",null,"",""]
["30","011707006001",null,"地上、地下设施、建筑物的临时保护设施","","项","1.000","",null,"",""]
["31","011705001001",null,"大型机械设备安拆费","","项","1.000","",null,"",""]
["32","CSQTFY001",null,"地面保护","","项","1.000","",null,"",""]
["","",null,"措施项目小计","","","","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["合    计",{"$nulls":8},"",""]

{"sheet":"【开平市长沙街道办事处...】总价措施项目清单与计价表","index":4,"n_rows":14,"n_cols":11,"rows_kept":14,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,6],[1,7,1,8],[1,9,1,10],[2,1,2,2],[2,5,2,6],[3,1,3,2],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,1,5,2],[5,5,5,6],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[8,1,8,2],[8,5,8,6],[9,1,9,2],[9,5,9,6],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[12,0,12,6],[13,0,13,5],[13,6,13,10]]}
["总价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":4},"标段：",null,"第1页, 共1页"]
["序号","项目编码",null,"项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)","调整后金额\n(元)","备注"]
["1","AQFHWMSG",null,"绿色施工安全防护措施费","","",null,"","","",""]
["1.1","AXSJSCSXMF",null,"按系数计算的绿色施工安全防护措施费","","",null,"","","",""]
["1.1.1","011707001001",null,"按系数计算的绿色施工安全防护措施费(包括绿色施工、临时设施、安全施工和用工实名管理)","分部分项人工费+分部分项机具费","13.00",null,"","","","以分部分项工程的人工费与施工机具费之和的13%计算"]
["","",null,"小计","","",null,"","","",""]
["2","QTCSF",null,"其他措施项目费","","",null,"","","",""]
["2.1","WMGDZJF001",null,"文明工地增加费","分部分项人工费+分部分项机具费","",null,"","","","省级文明工地按2.10%计算；市级文明工地按1.20%计算"]
["2.2","011707002001",null,"夜间施工","夜间施工人工费","20.00",null,"","","","按夜间施工项目人工的20%计算"]
["2.3","GGCSF001",null,"赶工措施费","(1-工期系数)*(分部分项人工费+分部分项机具费)","30.00",null,"","","",""]
["","",null,"小计","","",null,"","","",""]
["合    计",{"$nulls":6},"","","",""]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]

{"sheet":"【开平市长沙街道办事处...】其他项目清单与计价汇总表","index":5,"n_rows":17,"n_cols":6,"rows_kept":17,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,0,15,2],[16,0,16,5]]}
["其他项目清单与计价汇总表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",null,"标段：","第1页, 共1页"]
["序号","项目名称",null,"金额(元)","结算金额(元)","备注"]
["1","暂列金额",null,"","",""]
["2","暂估价",null,"","",""]
["2.1","材料暂估价",null,"","","该费用进入清单项目综合单价，此处不汇总"]
["2.2","专业工程暂估价",null,"","",""]
["3","计日工",null,"","",""]
["4","总承包服务费",null,"","",""]
["5","索赔费用",null,"","",""]
["6","现场签证费用",null,"","",""]
["7","预算包干费",null,"","","按分部分项的人工费与施工机具费之和的7.00%计算"]
["8","工程优质费",null,"","","市级质量奖按4.5%计算；省级质量奖7.5%计算；国家级质量奖12%计算"]
["9","消纳费",null,"","","根据“穗建造价〔2019〕53号”，建筑垃圾处置企业(单位)收取的消纳费列入其他项目费用中，按照市场、工程情况预估，列明单价与工程量"]
["10","其他费用",null,"","",""]
["总    计",null,null,"","",""]
["注：材料（设备）暂估单价进入清单项目综合单价，此处不汇总。"]

{"sheet":"【开平市长沙街道办事处社区...】规费、税金项目计价表","index":6,"n_rows":7,"n_cols":10,"rows_kept":7,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,5],[1,6,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,6],[5,7,5,8],[6,0,6,3],[6,4,6,9]]}
["规费、税金项目计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":3},"标段：",null,"第1页, 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"计算费率(%)",null,"金额(元)"]
["1","规费",null,"",null,"",null,"",null,""]
["2","增值税销项税额",null,"税前工程造价",null,"",null,"9",null,""]
["合    计",{"$nulls":6},"",null,""]
["编制人（造价人员）：",{"$nulls":3},"复核人（造价工程师）："]

{"sheet":"【...】承包人提供主要材料和工程设备一览表(适用于信","index":7,"n_rows":65,"n_cols":10,"rows_kept":65,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,1],[2,2,2,5],[2,6,2,7],[2,8,2,9],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,0,29,9],[30,0,30,9],[31,0,31,1],[31,2,31,5],[31,6,31,7],[31,8,31,9],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,1,55,2],[56,1,56,2],[57,1,57,2],[58,1,58,2],[59,0,59,9],[60,0,60,9],[61,0,61,1],[61,2,61,5],[61,6,61,7],[61,8,61,9],[62,1,62,2],[63,1,63,2],[64,1,64,2]]}
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":3},"标段：",null,"第1页, 共3页"]
["序号","名称、规格、型号",null,"单位","数量","风险系数\n(%)","基准单价(元)","投标单价\n(元)","发承包人\n确认单价\n(元)","备注"]
["1","机上人工",null,"工日","0.764","","","","",""]
["2","人工费",null,"元","8396.342","","","","",""]
["3","热轧圆盘条 φ10以内",null,"t","0.011","","","","",""]
["4","角钢 综合",null,"kg","121.360","","","","",""]
["5","自攻螺钉 M4×15",null,"十套","138.000","","","","",""]
["6","螺母 综合",null,"十个","14.080","","","","",""]
["7","高强螺栓",null,"kg","0.488","","","","",""]
["8","膨胀螺栓 M8×80",null,"十套","12.922","","","","",""]
["9","专用螺母垫圈 Q235 3#",null,"块","7.040","","","","",""]
["10","圆钉 综合",null,"kg","5.940","","","","",""]
["11","圆钉 30～45",null,"kg","2.369","","","","",""]
["12","射钉",null,"十个","6.120","","","","",""]
["13","枪钉",null,"盒","3.185","","","","",""]
["14","铝合金窗轨 L=1000",null,"套","37.200","","","","",""]
["15","不锈钢合页 100mm",null,"个","2.301","","","","",""]
["16","水砂纸",null,"张","6.340","","","","",""]
["17","低碳钢焊条 综合",null,"kg","3.352","","","","",""]
["18","合金钢钻头 φ10",null,"个","2.430","","","","",""]
["19","钢板网 0.8",null,"m2","5.370","","","","",""]
["20","复合普通硅酸盐水泥 P.C 32.5",null,"t","0.479","","","","",""]
["21","中砂",null,"m3","1.373","","","","",""]
["22","生石灰",null,"t","0.002","","","","",""]
["23","标准砖 240×115×53",null,"千块","0.086","","","","",""]
["24","杉木枋",null,"m3","0.242","","","","",""]
["25","松木板",null,"m3","0.006","","","","",""]
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":3},"标段：",null,"第2页, 共3页"]
["序号","名称、规格、型号",null,"单位","数量","风险系数\n(%)","基准单价(元)","投标单价\n(元)","发承包人\n确认单价\n(元)","备注"]
["26","胶合板 2440×1220×3",null,"m2","15.750","","","","",""]
["27","胶合板 2440×1220×12",null,"m2","3.600","","","","",""]
["28","生态板",null,"m2","16.500","","","","",""]
["29","石板材 成品",null,"m2","5.250","","","","",""]
["30","可耐福防潮石膏板",null,"m2","42.000","","","","",""]
["31","轻钢中龙骨",null,"m","135.600","","","","",""]
["32","轻钢大龙骨 h=45",null,"m","54.916","","","","",""]
["33","轻钢中龙骨横撑 h19",null,"m","107.920","","","","",""]
["34","布窗帘",null,"m2","75.000","","","","",""]
["35","PVC装饰线 50×50",null,"m","63.600","","","","",""]
["36","环氧底漆",null,"kg","8.800","","","","",""]
["37","环氧面漆",null,"kg","39.600","","","","",""]
["38","环氧中层漆",null,"kg","37.400","","","","",""]
["39","腻子粉 成品(防水型)",null,"kg","115.630","","","","",""]
["40","腻子粉 成品(一般型)",null,"kg","114.264","","","","",""]
["41","乳胶漆 8205",null,"kg","44.966","","","","",""]
["42","酚醛红丹防锈漆",null,"kg","0.443","","","","",""]
["43","乳液",null,"kg","10.865","","","","",""]
["44","墙身护墙碳晶墙板",null,"m2","94.500","","","","",""]
["45","水",null,"m3","0.595","","","","",""]
["46","折旧费",null,"元","58.096","","","","",""]
["47","检修费",null,"元","9.959","","","","",""]
["48","维护费",null,"元","43.765","","","","",""]
["49","安拆费",null,"元","12.274","","","","",""]
["50","汽油 (机械用)",null,"kg","19.902","","","","",""]
["51","电 (机械用)",null,"kw·h","71.132","","","","",""]
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-装修部分",{"$nulls":3},"标段：",null,"第3页, 共3页"]
["序号","名称、规格、型号",null,"单位","数量","风险系数\n(%)","基准单价(元)","投标单价\n(元)","发承包人\n确认单价\n(元)","备注"]
["52","其他材料费",null,"元","131.881","","","","",""]
["53","中药房间门（1000×2000mm，韩版碳晶木门，双层色面板，中间木料填充）",null,"m2","2.000","","","","",""]

{"sheet":"【开平市长沙街道办事处社区卫生服...】单位工程汇总表(1)","index":8,"n_rows":24,"n_cols":6,"rows_kept":24,"merged":[[0,0,0,5],[1,1,1,3],[2,0,2,1],[2,3,2,4],[3,0,3,1],[3,3,3,4],[4,0,4,1],[4,3,4,4],[5,0,5,1],[5,3,5,4],[6,0,6,1],[6,3,6,4],[7,0,7,1],[7,3,7,4],[8,0,8,1],[8,3,8,4],[9,0,9,1],[9,3,9,4],[10,0,10,1],[10,3,10,4],[11,0,11,1],[11,3,11,4],[12,0,12,1],[12,3,12,4],[13,0,13,1],[13,3,13,4],[14,0,14,1],[14,3,14,4],[15,0,15,1],[15,3,15,4],[16,0,16,1],[16,3,16,4],[17,0,17,1],[17,3,17,4],[18,0,18,1],[18,3,18,4],[19,0,19,1],[19,3,19,4],[20,0,20,1],[20,3,20,4],[21,0,21,1],[21,3,21,4],[22,0,22,1],[22,3,22,4],[23,0,23,2],[23,3,23,4]]}
["单位工程投标报价汇总表"]
["工程名称:","开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",null,null,"标段：","第1页, 共1页"]
["序号",null,"汇总内容","金额(元)",null,"其中：暂估价(元)"]
["1",null,"分部分项工程费","",null,""]
["2",null,"措施项目费","",null,""]
["2.1",null,"绿色施工安全防护措施费",756.17,null,""]
["2.2",null,"其他措施项目费","",null,""]
["3",null,"其他项目费","",null,""]
["3.1",null,"暂列金额","",null,""]
["3.2",null,"暂估价","",null,""]
["3.3",null,"计日工","",null,""]
["3.4",null,"总承包服务费","",null,""]
["3.5",null,"索赔费用","",null,""]
["3.6",null,"现场签证费用","",null,""]
["3.7",null,"预算包干费","",null,""]
["3.8",null,"工程优质费","",null,""]
["3.9",null,"消纳费","",null,""]
["3.10",null,"其他费用","",null,""]
["4",null,"规费","",null,""]
["5",null,"税前工程造价","",null,""]
["6",null,"增值税销项税额","",null,""]
["7",null,"工程造价","",null,""]
["8",null,"其中：人工费","",null,""]
["投标报价合计",null,null,"",null,""]

{"sheet":"【...】分部分项工程和单价措施项目清单与计价表(格式(1)","index":9,"n_rows":51,"n_cols":11,"rows_kept":51,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,8],[3,9,4,9],[5,1,5,2],[5,7,5,8],[6,1,6,2],[6,7,6,8],[7,1,7,2],[7,7,7,8],[8,1,8,2],[8,7,8,8],[9,1,9,2],[9,7,9,8],[10,1,10,2],[10,7,10,8],[11,1,11,2],[11,7,11,8],[12,0,12,8],[13,0,13,10],[14,0,14,1],[14,2,14,7],[14,8,14,10],[15,0,17,0],[15,1,17,2],[15,3,17,3],[15,4,17,4],[15,5,17,5],[15,6,17,6],[15,7,15,10],[16,7,17,8],[16,9,17,9],[18,1,18,2],[18,7,18,8],[19,1,19,2],[19,7,19,8],[20,1,20,2],[20,7,20,8],[21,1,21,2],[21,7,21,8],[22,1,22,2],[22,7,22,8],[23,1,23,2],[23,7,23,8],[24,1,24,2],[24,7,24,8],[25,1,25,2],[25,7,25,8],[26,1,26,2],[26,7,26,8],[27,1,27,2],[27,7,27,8],[28,1,28,2],[28,7,28,8],[29,0,29,8],[30,0,30,10],[31,0,31,1],[31,2,31,7],[31,8,31,10],[32,0,34,0],[32,1,34,2],[32,3,34,3],[32,4,34,4],[32,5,34,5],[32,6,34,6],[32,7,32,10],[33,7,34,8],[33,9,34,9],[35,1,35,2],[35,7,35,8],[36,1,36,2],[36,7,36,8],[37,1,37,2],[37,7,37,8],[38,1,38,2],[38,7,38,8],[39,1,39,2],[39,7,39,8],[40,1,40,2],[40,7,40,8],[41,1,41,2],[41,7,41,8],[42,1,42,2],[42,7,42,8],[43,1,43,2],[43,7,43,8],[44,1,44,2],[44,7,44,8],[45,1,45,2],[45,7,45,8],[46,1,46,2],[46,7,46,8],[47,1,47,2],[47,7,47,8],[48,1,48,2],[48,7,48,8],[49,0,49,8],[50,0,50,8]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":5},"第1页, 共3页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["1","030404033001",null,"排气扇","1、控制设备及低压电器安装 风扇安装 排气扇\n2、排气扇 10寸","台","3","",null,"",""]
["2","030411004001",null,"配线","1、硬绝缘导线管内穿线 导线截面(mm2以内) 2.5\n2、绝缘电线 BV-2.5mm2","m","2800.00","",null,"",""]
["3","030412004001",null,"安全指示灯","1、标志、诱导装饰灯具安装 墙壁式 示意图号:171、172、173、174\n2、安全指示灯","套","2.000","",null,"",""]
["4","030404033002",null,"排气扇","1、控制设备及低压电器安装 风扇安装 排气扇\n2、排气扇 8寸","台","7","",null,"",""]
["5","030404035001",null,"二三插座","1、控制设备及低压电器安装 单相明插座安装 单相（A以下） 16\n2、二三插座\n3、接线盒安装 普通接线盒 明装\n4、接线盒","个","20","",null,"",""]
["6","030412004002",null,"天花射灯","1、点光源艺术装饰灯具安装 嵌入式 灯具直径(150) 示意图号:179、180、181\n2、天花射灯","套","10.000","",null,"",""]
["7","030412004003",null,"反光灯带","1、LED装饰灯安装 LED灯带 软灯带\n2、反光灯带","m","15.00","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":5},"第2页, 共3页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["8","030404020001",null,"变压器","1、控制设备及低压电器安装 安全变压器安装 变压器容量(V·A以下) 500\n2、变压器","个","2","",null,"",""]
["9","031001006001",null,"联塑孔径110、75、50管道,150米排气管道布管","1、联塑孔径110、75、50管道,150米排气管道布管","项","1","",null,"",""]
["10","030411001001",null,"墙体线路，开凿墙身线槽20公分宽，80米长，明电改暗电","1、墙体线路，开凿墙身线槽20公分宽，80米长，明电改暗电","项","1","",null,"",""]
["11","031004006002",null,"无障碍厕所，增加坐厕，加装不锈钢扶手","1、无障碍厕所，增加坐厕，加装不锈钢扶手\n2、金属 不锈钢浴缸拉手\n3、不锈钢扶手","项","1","",null,"",""]
["12","031004004001",null,"304#不锈钢水槽洗手单盆","1、洗涤盆安装 肘式开关 冷水\n2、304#不锈钢水槽洗手单盆","个","2","",null,"",""]
["13","031004014001",null,"菜盆单冷水龙头","1、单冷水龙头安装 公称直径(mm以内) 15\n2、菜盆单冷水龙头","个","2","",null,"",""]
["","",null,"分部分项小计","","","","",null,"",""]
["","",null,"措施项目","","","","",null,"",""]
["","AQFHWMSG",null,"绿色施工安全防护措施费","","","","",null,"",""]
["","AZMJSCSF",null,"按子目计算的绿色施工安全防护措施费","","","","",null,"",""]
["","ZHJSJ",null,"综合脚手架","","","","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":5},"第3页, 共3页"]
["序号","项目编码",null,"项目名称","项目特征描述","计量\n单位","工程量","金额(元)"]
[{"$nulls":7},"综合单价",null,"合价","其中"]
[{"$nulls":10},"暂估价"]
["14","SGXCWDHLSZDWD001",null,"施工现场围挡和临时占地围挡","","项","1.000","",null,"",""]
["15","SGWDZM001",null,"施工围档照明","","项","1.000","",null,"",""]
["16","SGBD001",null,"施工便道","","项","1.000","",null,"",""]
["17","FCJZLSSGFHP001",null,"防尘降噪绿色施工防护棚","","项","1.000","",null,"",""]
["18","YBYL001",null,"样板引路","","项","1.000","",null,"",""]
["","QTCSF",null,"其他措施项目费","","","","",null,"",""]
["19","031301010001",null,"安装与生产同时进行施工增加","","项","1.000","",null,"",""]
["20","031301011001",null,"在有害身体健康环境中施工增加","","项","1.000","",null,"",""]
["21","031301017001",null,"脚手架搭拆","","项","1.000","",null,"",""]
["22","031302003001",null,"非夜间施工增加","","项","1.000","",null,"",""]
["23","031302007001",null,"高层施工增加","","项","1.000","",null,"",""]
["24","DXGXJCJXF001",null,"地下管线交叉降效费","","项","1.000","",null,"",""]
["25","031301018001",null,"其他措施","","项","1.000","",null,"",""]
["","",null,"措施项目小计","","","","",null,"",""]
["本页小计",{"$nulls":8},"",""]
["合    计",{"$nulls":8},"",""]

{"sheet":"【开平市长沙街道办事处...】总价措施项目清单与计价表(1)","index":10,"n_rows":20,"n_cols":11,"rows_kept":20,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,6],[1,7,1,8],[1,9,1,10],[2,1,2,2],[2,5,2,6],[3,1,3,2],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,1,5,2],[5,5,5,6],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[8,1,8,2],[8,5,8,6],[9,1,9,2],[9,5,9,6],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[12,0,12,5],[12,6,12,10],[13,0,13,10],[14,0,14,1],[14,2,14,6],[14,7,14,8],[14,9,14,10],[15,1,15,2],[15,5,15,6],[16,1,16,2],[16,5,16,6],[17,1,17,2],[17,5,17,6],[18,0,18,6],[19,0,19,5],[19,6,19,10]]}
["总价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":4},"标段：",null,"第1页, 共2页"]
["序号","项目编码",null,"项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)","调整后金额\n(元)","备注"]
["1","AQFHWMSG",null,"绿色施工安全防护措施费","","",null,"","","",""]
["1.1","AXSJSCSXMF",null,"按系数计算的绿色施工安全防护措施费","","",null,"","","",""]
["1.1.1","031302001001",null,"按系数计算的绿色施工安全防护措施费(包括绿色施工、临时设施、安全施工和用工实名管理)","分部分项人工费+分部分项机具费","35.77",null,"","","","以分部分项工程的人工费与施工机具费之和的35.77%计算"]
["","",null,"小计","","",null,"","","",""]
["2","QTCSF",null,"其他措施项目费","","",null,"","","",""]
["2.1","粤031302008001",null,"赶工措施费","(1-工期系数)*(分部分项人工费+分部分项机具费)","34.40",null,"","","",""]
["2.2","031302002001",null,"夜间施工增加","夜间施工人工费","20.00",null,"","","","按夜间施工项目人工的20%计算"]
["2.3","JTGCSGZJF001",null,"交通干扰工程施工增加费","","",null,"","","","在行人车辆通行的市政道路上施工所发生的施工降效费用，按在市政道路上施工项目人工费的10.00%计算（在小区内和交通全封闭的道路施工时不能计算）"]
["2.4","粤031302009001",null,"文明工地增加费","分部分项人工费+分部","",null,"","","","省级文明工地按2.00%"]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":4},"标段：",null,"第2页, 共2页"]
["序号","项目编码",null,"项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)","调整后金额\n(元)","备注"]
["","",null,"","分项机具费","",null,"","","","计算；市级文明工地按1.00%计算"]
["","",null,"小计","","",null,"","","",""]
["合    计",{"$nulls":6},"","","",""]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]

{"sheet":"【开平市长沙街道办事处...】其他项目清单与计价汇总表(1)","index":11,"n_rows":17,"n_cols":6,"rows_kept":17,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,0,15,2],[16,0,16,5]]}
["其他项目清单与计价汇总表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",null,"标段：","第1页, 共1页"]
["序号","项目名称",null,"金额(元)","结算金额(元)","备注"]
["1","暂列金额",null,"","",""]
["2","暂估价",null,"","",""]
["2.1","材料暂估价",null,"","","该费用进入清单项目综合单价，此处不汇总"]
["2.2","专业工程暂估价",null,"","",""]
["3","计日工",null,"","",""]
["4","总承包服务费",null,"","",""]
["5","索赔费用",null,"","",""]
["6","现场签证费用",null,"","",""]
["7","预算包干费",null,"","","按分部分项的人工费与施工机具费之和的10.00%计算"]
["8","工程优质费",null,"","","市级质量奖按7.50%计算；省级质量奖12.50%计算；国家级质量奖20.00%计算"]
["9","消纳费",null,"","","根据“穗建造价〔2019〕53号”，建筑垃圾处置企业(单位)收取的消纳费列入其他项目费用中，按照市场、工程情况预估，列明单价与工程量"]
["10","其他费用",null,"","",""]
["总    计",null,null,"","",""]
["注：材料（设备）暂估单价进入清单项目综合单价，此处不汇总。"]

{"sheet":"【开平市长沙街道办事处社区...】规费、税金项目计价表(1)","index":12,"n_rows":7,"n_cols":10,"rows_kept":7,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,5],[1,6,1,7],[1,8,1,9],[2,1,2,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[3,1,3,2],[3,3,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,6],[5,7,5,8],[6,0,6,3],[6,4,6,9]]}
["规费、税金项目计价表"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":3},"标段：",null,"第1页, 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"计算费率(%)",null,"金额(元)"]
["1","规费",null,"",null,"",null,"",null,""]
["2","增值税销项税额",null,"税前工程造价",null,"",null,"9",null,""]
["合    计",{"$nulls":6},"",null,""]
["编制人（造价人员）：",{"$nulls":3},"复核人（造价工程师）："]

{"sheet":"【...】承包人提供主要材料和工程设备一览表(适用于信(1)","index":13,"n_rows":47,"n_cols":10,"rows_kept":47,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,1],[2,2,2,5],[2,6,2,7],[2,8,2,9],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,0,29,9],[30,0,30,9],[31,0,31,1],[31,2,31,5],[31,6,31,7],[31,8,31,9],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2]]}
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":3},"标段：",null,"第1页, 共2页"]
["序号","名称、规格、型号",null,"单位","数量","风险系数\n(%)","基准单价(元)","投标单价\n(元)","发承包人\n确认单价\n(元)","备注"]
["1","人工费",null,"元","2113.999","","","","",""]
["2","聚四氟乙烯生料带 宽20",null,"m","3.400","","","","",""]
["3","棉纱",null,"kg","1.867","","","","",""]
["4","沉头螺钉 M6×55～65",null,"十套","0.816","","","","",""]
["5","木螺钉 M3.5×22～25",null,"十套","0.816","","","","",""]
["6","木螺钉 M2～4×6～65",null,"十套","12.588","","","","",""]
["7","木螺钉 M4×65",null,"十套","4.160","","","","",""]
["8","膨胀螺栓 M6～12×50～120",null,"十套","1.030","","","","",""]
["9","塑料胀管 D6～8",null,"十套","13.640","","","","",""]
["10","菜盆单冷水龙头",null,"个","2.020","","","","",""]
["11","焊锡膏",null,"kg","0.093","","","","",""]
["12","锡基钎料",null,"kg","1.493","","","","",""]
["13","冲击钻头 φ6～8",null,"个","0.905","","","","",""]
["14","冲击钻头 φ8～16",null,"个","0.112","","","","",""]
["15","钢锯条",null,"条","0.400","","","","",""]
["16","防水密封胶",null,"支","0.800","","","","",""]
["17","汽油 综合",null,"kg","4.667","","","","",""]
["18","304#不锈钢水槽洗手单盆",null,"套","2.020","","","","",""]
["19","连体坐便器",null,"套","1.010","","","","",""]
["20","大便器排水接头",null,"个","1.010","","","","",""]
["21","不锈钢扶手",null,"套","1.010","","","","",""]
["22","安全指示灯",null,"套","2.020","","","","",""]
["23","天花射灯",null,"套","10.100","","","","",""]
["24","反光灯带",null,"m","15.150","","","","",""]
["25","塑料灯带卡子",null,"十个","1.733","","","","",""]
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称:",null,"开平市长沙街道办事处社区卫生服务中心三楼中医馆装修工程-安装部分",{"$nulls":3},"标段：",null,"第2页, 共2页"]
["序号","名称、规格、型号",null,"单位","数量","风险系数\n(%)","基准单价(元)","投标单价\n(元)","发承包人\n确认单价\n(元)","备注"]
["26","二三插座",null,"个","20.400","","","","",""]
["27","电气绝缘胶带 18mm×10m×0.13mm",null,"卷","4.667","","","","",""]
["28","裸铜线 2.5～4mm2",null,"m","1.020","","","","",""]
["29","绝缘电线 BV-2.5mm2",null,"m","1026.667","","","","",""]
["30","铜芯聚氯乙烯绝缘导线 BV-105℃-2.5mm2",null,"m","5.497","","","","",""]
["31","铜芯聚氯乙烯绝缘导线 BV-2.5mm2",null,"m","10.200","","","","",""]
["32","塑料接线柱 双线",null,"个","2.060","","","","",""]
["33","铜接线端子 DT-2.5mm2",null,"个","12.180","","","","",""]
["34","接线盒",null,"个","20.400","","","","",""]
["35","水",null,"m3","0.092","","","","",""]
["36","排气扇 10寸",null,"台","3.000","","","","",""]
["37","排气扇 8寸",null,"台","7.000","","","","",""]
["38","变压器",null,"台","2.000","","","","",""]
["39","其他材料费",null,"元","16.480","","","","",""]